3.12.1.14 Free Run Data Columns

This menu displays only if the Communications option is installed and Comm

Port 1 function is set to Free Run. It selects the number of free run outputs

before a termination character. If the number of columns is greater than 1, each

output is separated by four spaces.

Min Max Default

n= 0 16 0

Note: When Free Run Columns is set to zero, output is not generated. Port 1

and/or Port 2 Function must be set to Free Run to get free run output from the

selected communications port.

3.12.1.15 Free Run Format

This menu displays only if you have the Communications option installed and

Comm Port 1 function is set to Free Run. It selects the format of the free run

output.

Choices: Standard (1), Pn+Std (2), Stx3.2 (3); SohStx3.2(4); Stxnnnd(5),

Stx3.2uu(6), AutoView(7), Wgt+Units(8), Avg Wgt(9)

Report width

nn Chosen

Free run data

columns: n

Free run format:

1: Standard Chosen

Mean Avg Count:

6

AC4000i

3-70 REC 4165

Formats:

1. Standard

Zone sp weight sp-sp term

Zone = 1 character zone number

.1.-.3. 3-zone machine

.1.-.5. 5 zone machine

.X. No-gap

.N. Weight Not Done

.E. External Reject

sp = 1 space separation

weight = 8 character weight in selected display precision, space filled

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term= selected termination character(s)

2. Pn+Std

Pn sp zone sp weight sp-sp term

Pn = Product Number

sp = 1 space separation

zone = 1 character zone number

.1.-.3. 3-zone machine

.1.-.5. 5 zone machine

.X. No-gap

.N. Weight Not Done

.E. External Reject

weight = 8 character weight in selected display precision, space filled

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term = selected termination character(s)

3. Stx3.2

Stx weight sp-sp term

Stx = ASCII STX character = 02 hex

weight = weight in ‘nnn.nn’ format, 0 filled

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term = selected termination character(s)

AC4000i

REC 4165 3-71

4. SohStx3.2

Soh Stx weight sp-sp term

Soh = ACSCII SOH character = 01 hex

Stx = ASCII STX character = 02 hex

weight = weight in ‘nnn.nn’ format, 0 filled

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term = selected termination character(s)

5. Stxnnnd

Stx weight sp-sp term

Stx = ASCII STX character = 02 hex

Weight = weight * 10 in .nnnd. format, 0 filled .nnn. represents the

integer portion of the weight, and .d. the first decimal digit. A weight of

.72.3 g. would be represented as .0723..

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term = selected termination character(s)

6. Stx3.2uu

Stx weight units sp-sp term

Stx = ASCII STX character = 02 hex

weight = weight in .nnn.nn. format, 0 filled

units = selected weight units .OZ., .LB., .G., .KG.

sp-sp = (optional) 4 space separations if the number of columns is

greater than 1

term = selected termination character(s)

7. Auto View

Pn zone weight term

Pn = Product Number

zone = 1 character zone number

weight = weight in .nnn.nn. format, 0 filled

term = selected termination character(s)

8. Wgt+units

weight Sp units term

weight = weight in .nnn.nn. format, 0 filled

sp - 1 space separation

units - selected weight units .OZ., .LB., .G., .KG.

term = selected termination character(s)

AC4000i

3-72 REC 4165

9. AvgWgt

Avg weight Sp bracket deviation bracket term

Avg weight = average weight in .nnn.nn. format, 0 filled

sp = 1 space separation

bracket =

deviation =

bracket =

term = selected termination character(s)

3.12.1.16 Free Run Terminator

This menu displays only if you have the Communications option installed and

Comm Port 1 function is set to Free Run. It selects the free run terminator.

Choices: LF, CR, CR LF

LF = 0A hex = 10 decimal = Line Feed

CR = 0D hex = 13 decimal = Carriage Return

CR LF = Carriage Return followed by Line Feed